Exercise 1: Spatial filters

Artifacts are a major issue in BCI. One way to reduce the impact of artifacts are spatial filters. In this exercise you will study the effects of different spatial filters on artifact-contaminated EEG.

The file artefacts.mat contains a segment of a 120 channel EEG recording that is contaminated with artifacts. Use the MATLAB function load to load the .mat file. The EEG is sampled at a rate of 500 Hz and band pass filtered between 1 Hz and 200 Hz. Electrode setup and channel information are shown on the next pages. Please compute the following spatial filters for positions Fz, Cz and Oz. Note: in the case of laplacian derivation, anterior means to the front, posterior means to the back, dexter means to the right and sinister to the left with respect to a chosen electrode position on which the spatial filter is applied.

Exercise 1.1: Bipolar derivation Xbip=Xanterior-Xposterior

Exercise 1.2: Laplace derivation Xlap=X-14Xanterior+Xdexter+Xposterior+Xsinister

Exercise 1.3: Common average reference derivation (CAR) XCAR=X-average(all channels)

Task:

- Describe the effects of the different spatial filters on the EEG signal, especially on artifacts.

Exercise 2: Artifacts in EEG

Below are some examples of EEG independent components. Label them correctly and briefly explain your reasons. Note that some components might not be artefactual, but brain related.

1.

2.

–

3.

4.

5.

6.

Exercise 3: P300 Evoked Potentials

The file BI5_segments_HTS.mat contains data from an auditory P300 BCI experiment. Study participants were asked to concentrate on a target tone, which was higher than the non-target tone. The multidimensional matrix segments stores the following information:

- First dimension: Channels (Fz, Cz and Pz, you can look that up in “ch_selection”).

- Second dimension: Time course (77 time points, Sample rate: 64 Hz).

- Third dimension: Trials (2200).

Use the classlabels vector to identify non-target trials (class 1) and target trials (class 2). Store them in separate matrices and calculate their means.

Tasks:

- Compute the EPs by averaging the trials for each channel and modality (non-target and target) separately.

- Plot a figure for each channel with the two modalities (hold on).

- Describe the differences between the two modalities (P300).

- Are the differences the same for all channels?

Electrode positions:

| 1 | Fp1 |
| --- | --- |
| 2 | Fpz |
| 3 | Fp2 |
| 4 | AFp1 |
| 5 | AFp2 |
| 6 | AF3 |
| 7 | AFz |
| 8 | AF4 |
| 9 | FAF1 |
| 10 | FAF2 |
| 11 | F1 |
| 12 | Fz |
| 13 | F2 |
| 14 | FFC1 |
| 15 | FFC2 |
| 16 | FC1 |
| 17 | FCz |
| 18 | FC2 |
| 19 | CFC1 |
| 20 | CFC2 |
| 21 | C1 |
| 22 | Cz |
| 23 | C2 |
| 24 | CCP1 |
| 25 | CCP2 |
| 26 | CP1 |
| 27 | CPz |
| 28 | CP2 |
| 29 | PCP1 |
| 30 | PCP2 |
| 31 | P1 |
| 32 | Pz |
| 33 | P2 |
| 34 | PPO1 |
| 35 | PPO2 |
| 36 | PO3 |
| 37 | POz |
| 38 | PO4 |
| 39 | OPO1 |
| 40 | OPO2 |
| 41 | O1 |
| 42 | Oz |
| 43 | O2 |
| 44 | OI1 |
| 45 | OI2 |
| 46 | I1 |
| 47 | Iz |
| 48 | I2 |
| 49 | AF7 |
| 50 | F9 |
| 51 | F7 |
| 52 | FT9 |
| 53 | FAF5 |
| 54 | F5 |
| 55 | FFC7 |
| 56 | FT7 |
| 57 | F3 |
| 58 | FFC5 |
| 59 | FC5 |
| 60 | CFC7 |
| 61 | T7 |
| 62 | FFC3 |
| 63 | FC3 |
| 64 | CFC5 |
| 65 | C5 |
| 66 | CCP7 |
| 67 | TP7 |
| 68 | P9 |
| 69 | CFC3 |
| 70 | C3 |
| 71 | CCP5 |
| 72 | CP5 |
| 73 | PCP7 |
| 74 | P7 |
| 75 | P09 |
| 76 | CCP3 |
| 77 | CP3 |
| 78 | PCP5 |
| 79 | P5 |
| 80 | PO7 |
| 81 | OPO9 |
| 82 | PCP3 |
| 83 | P3 |
| 84 | PPO5 |
| 85 | AF8 |
| 86 | F10 |
| 87 | F8 |
| 88 | FT10 |
| 89 | FAF6 |
| 90 | F6 |
| 91 | FFC8 |
| 92 | FT8 |
| 93 | F4 |
| 94 | FFC6 |
| 95 | FC6 |
| 96 | CFC8 |
| 97 | T8 |
| 98 | FFC4 |
| 99 | FC4 |
| 100 | CFC6 |
| 101 | C6 |
| 102 | CCP8 |
| 103 | TP8 |
| 104 | P10 |
| 105 | CFC4 |
| 106 | C4 |
| 107 | CCP6 |
| 108 | CP6 |
| 109 | PCP8 |
| 110 | P8 |
| 111 | PO10 |
| 112 | CCP4 |
| 113 | CP4 |
| 114 | PCP6 |
| 115 | P6 |
| 116 | PO8 |
| 117 | OPO10 |
| 118 | PCP4 |
| 119 | P4 |
| 120 | PPO6 |
| 121 | EMG1SL |
| 122 | EMG1IL |
| 123 | EMG2SL |
| 124 | EMG2IL |
| 125 | EMG1SR |